## AutoLab Features
Supported Hardware | Completed | Requirement | Priority | US Estimated Hours | Notes
TNA3889 Timer | 100 | necessary | 0 |  | Implemented
Consistent XML schema for import and export | 100 | necessary | 0 |  | EQX format for data exchange is standard.
Manual log entry | 100 | desirable | 0 |  | Collecting user input throughout test execution is possible with scripts
Measurement Computing I/O Cards (High Speed) | 0 | necessary | 1 |  | Universal Library; PCI-DIO24,48,96; PCIe-DIO24,96
Event Sequencing | 90 | necessary | 2
Measurement Computing Temperature loggers | 0 | necessary | 3 |  | Universal Library; USB-TEMP, USB-TC
Terminator I/O | 50 | necessary | 4 |  | Partially implemented; Add T1K-16ND3, T1K-08TD1, T1K-08TD2-1,T1K-16TD1, T1K-16TD2-1, T1K-08TRS, T1K-16TR
Facility Control | ? | necessary | 5 |  | Similar to event sequence but exists outside of test execution. May be possible within custom test sequence scripting.
ID hotswapping | 50 | desirable | 6
Background Hardware Polling (Battery, Temp, Comm Status) | 25 | desirable | 7
State Machine behavior for insuring consistent behavior | ? | desirable | 8
Checklists | 0 | desirable | 9 |  | Add customizable tasks for technicians to complete, record completed datetime
Polarity Checking concept | 0 | desirable | 10
Multi Test signal comparison | 0 | desirable | 11 |  | Open test data from another test for comparison to current test, ability to overlay plots by ISO name
Visual Cues for data review | 0 | desirable | 12 |  | Plot tolerance boxes for expected squib fire times, etc…
Signal Post Processing capability using customizable formulas | ? | desirable | 13 |  | Calculated speed based on pulse width and distance, for example
Resulant live view | 0 | desirable | 14 |  | Use case is seatbelt pretensioning, etc. Show a live view of resultant of 3 channels.
Transducer Tracking | ? | desirable | 15 |  | Requested Fullscale, Actual Peak, Shunt, Null, Test#, etc are recorded for each used transducer.
Measurement Computing DAS Cards (High Speed / Low Cost) |  | optional | 16 |  | Universal Library
Impactor Control | 0 | desirable | 17 |  | Closed loop pressure monitoring and controls for firing linear impactor.
Test plan / Data File concept (Portability between customers) | ? | optional | 18 |  | EQX Schema should support this portability feature.
BNC Pulser |  | not needed
LabJack |  | not needed
TC-AM K3779 CAN Logger |  | not needed
TC-AM K3779 RibEye |  | not needed
TC-AM K3779 MICRODAU Server |  | not needed
Ribeye Serial over Ethernet |  | not needed
Chromalox Temp Controllers |  | not needed
Watlow Temp Controller |  | not needed
Maxxim iButton Temp loggers |  | not needed
Closed loop pressure control (impactor and HYGE options) |  | not needed